## Slide 1: Blowing Bubbles: Long range control of algae using ultrasound Jonathan Newman Waterland Management Ltd

## Slide 2: The History of ultrasound
Patented by Langevin in 1916 for submarine detection and protection from fouling
Biological effects observed in 1920s and other effects on cells in 1950s
Used for promoting seed germination 1980s
First unit for control of algae early 1990s
Several versions, copies, developments and little focussed R&D

## Slide 3: Research & Development
Frequency selection
  The magic frequency
Species response
  Why are some types resistant
Power selection
Frequency – Application pairing
  Prime numbers
Remote operation
  Communications, monitoring
Solar power options
  24 V UL approval

## Slide 4: How does it work?
Shear stress from continuous ultrasound
  Mechanical damage to cells at very close range
Pulsed Ultrasound
  Cell Boundary layers supersaturated with dissolved gases
  Bubbles created by ultrasonically induced pressure differences and nucleation sites on algal cell surfaces
  Bubbles collapse after about half a second
  Localised Cellular Micro-Cavitation
    Very high pressure and temperature
    Oxidising compounds created

## Slide 5: Ultrasound effects on water
H2O ⇌ OH• + H• (Hydroxyl radical and - pH
OH• + OH• → H2O2 (membrane oxidation)
OH• + OH• ⇌ H2O + O• (singlet Oxygen radical)
OH• + OH• → H2 + O2
H• + O2 → HO2•
HO2• + H• → H2O2 (membrane oxidation)
HO2• + HO2• → H2O2 + O2 (membrane oxidation)
OH• + H2O ⇌ H2O2 + O• (membrane oxidation)
H2O + O• → H2O2 (membrane oxidation)
H• + H• → H2

## Slide 6: How it CANNOT work (at distance)
Blue green algal cell vesicle collapse
  May be caused as a response to increased O2 concentration
  Photosynthetically mediated response to light (= O2 concentration)
Harmonic resonance destruction of vacuoles
  Cells not that flexible
  No microscope evidence for vacuole collapse
Sonophoresis / electroporation
  What toxin?
  Osmotic regulation, requires membrane damage

## Slide 7: Sound Pressure and Potential Range
600 m

## Slide 8: Localised Cellular Cavitation in Boundary Layer
CO2
CO2
O2
O2
Algal Cell
Gas-enriched boundary layers have lower resistance to bubble formation than open water and more nucleation points
400 – 700% air saturation of dissolved gases in boundary layer from photosynthesis and respiration
Waves parallel to surface create shear stress
Ultrasound Waves create pressure stress

## Slide 9
Ultrasound creates sonoluminescence by dissociating water molecules

## Slide 10: Stress Response of Algal Families to Ultrasound - cytochrome c

## Slide 11: Species tested to date
Purcell, D. (2009) Control of algae in reservoirs with ultrasound. PhD Thesis Cranfield university

## Slide 12: Case Study - Germany
October 2011
October 2012

## Slide 13: Munster, Germany: Cyanobacteria

## Slide 14: Case Study – Loweswater UK

## Slide 15: Loweswater
Solar Powered system
Monitoring by Xylem Sonde
Ultrasound detection using hydrophone
Problem Blue Green Algae:
  Planktothrix
  Woronichia
  Snowella

## Slide 16: Loweswater raft

## Slide 17: Sonde data
4 Units
4 + 1 PVS Unit

## Slide 18: Loweswater Chlorophyll
Chart: 

## Slide 19: Loweswater
965 m

## Slide 20: 10 m away

## Slide 21: Loweswater
965 m

## Slide 22: 965 m away